## Sheet1
تجهیزات موجود شبکه تهران و اصفهان و سایتهای شرکت پالایش نفت جی - 1396/3/1
Item | Brand | Model | Description | Location
Server | HP | DL380 G7 | Vm-Host: Antivirus DC1 DHCP Exchange TMG vCenter vShield vShield Manager | Tehran
| HP | DL380 G7 | Vm-Host: Automation Hamkaran System DC2 Print Server Suggestions WSUS | Tehran
| HP | DL380 G6 | Vm-Host | Tehran
| HP | DL380 G9 | Vm-Host | Tehran
| HP | DL380 G9 | Vm-Host | Tehran
| HP | DL380 G6 | Vm-Host | Isfahan
| HP | DL380 G6 | Vm-Host | Isfahan
| Asus | 1710-E1 - Black | Backup Server | Tehran
| Asseble | P4 | Router | Tehran
| Asseble | P4 | Cash Server - Internet | Tehran
Router | Cisco | 2951/K9 |  | Tehran
| Cisco | 2611 |  | Isfahan
| Cisco | 2811 |  | Bandarabbas
Firewall | Cisco | ASA 5510 |  | Tehran
UTM | Cyberoam | CR100iNG |  | Tehran
Switch | Planet | 16-10/100/1000Mbps GSW-1602SF | Access - Server Room | Tehran
| Cisco | WS-C2960X-48TS-L | Access - Floor 1 | Tehran
| Cisco | WS-C2960X-48TS-L | Access - Floor 2 | Tehran
| Cisco | WS-C2960X-48TS-L | Access - Floor 3 | Tehran
| Cisco | WS-C3850-48T-S | Access - Server Room | Tehran
| Cisco | WS-C3750X-12S-S | Core | Tehran
| Cisco | WS-C2960X-48TS-L | Access - Floor 1 (Free) | Tehran
| Cisco | WS-C2960X-48TS-L | Access - Floor 2 (Free) | Tehran
| Cisco | WS-C2960X-48TS-L | Access - Floor 3 (Free) | Tehran
| Cisco | WS-C2960S-24PS-L | Access - Central Floor 0 | Isfahan
| Cisco | WS-C2960S-24PS-L | Access - Central Floor 1 | Isfahan
| Cisco | WS-C2960S-24PS-L | Access - Central Floor 2 | Isfahan
| Cisco | WS-C2960S-24PS-L | Access - Security & Issue | Isfahan
| Cisco | WS-C2960S-24PS-L | Access - Old Building | Isfahan
| Cisco | WS-C2960S-24PS-L | Access - Old Building | Isfahan
| Cisco | WS-C2960S-24PS-L | Access - Loading | Isfahan
| Cisco | WS-C2960S-24PS-L | Access - Bascul | Isfahan
| Cisco | WS-C2960S-24PS-L | Access - Emulation | Isfahan
| Cisco | WS-C2960S-24PS-L | Access - Production | Isfahan
| Cisco | WS‐C3750X‐24T‐S | Access - Server Room | Isfahan
| Cisco | WS-C3750X-12S-S | Core | Isfahan
| Cisco | WS-C2960X-48TS-L | Access - Ceteral | Bandarabbas
| Planet | 48-10/100Mbps FGSW-4840S | Access - Anbar | Bandarabbas
Telephone System | Panasonic | KX-TDA200 | Telephone System | Tehran
| Panasonic | KX-TDA200 | Telephone System | Isfahan
| Panasonic | KX-TDE100 | Telephone System | Bandarabbas
Access Point | Cisco | Cisco WAP4410N | Floor 1 | Tehran
| Cisco | Cisco WAP4410N | Floor 2 | Tehran
| Cisco | Cisco WAP4410N | Floor 3 | Tehran
| Cisco | Cisco WAP4410N | Floor 0 | Isfahan
| Cisco | Cisco WAP4410N | Floor 1 | Isfahan
| Cisco | Cisco WAP4410N | Floor 2 | Isfahan
UPS | IPC | 4 x (10 KVA/8KW) |  | Tehran | هوشمند پردازشگر نیرو
| Borry | 60 KVA/54 KW |  | Isfahan | آماک
Diesel Generator | General motor - McCarthy Generator | 80 KVA |  | Tehran | گرین پاور
| Volvo Motor - Stamford Generator | 350 KVA |  | Isfahan | تهران کشتیران سعدی
Comunications | Tehran To Isfahan | Mpls 4Mbps | Data & Voip | Tehran
| Isfahan To Tehran | Mpls 4Mbps | Data & Voip | Isfahan
| Bandarabbas Internet | Intenet 2Mbps | Data and Internet | Bandarabbas
| Bandarabbas Backup Internet | Intenet 2Mbps | Data and Internet | Bandarabbas
| Tehran Internet | Intenet 6Mbps | Data & Internet | Tehran
| Tehran Backup Internet | Intenet 10Mbps | Data & Internet | Tehran
| Isfahan Internet | Intenet 4Mbps | Internet | Isfahan
| Isfahan Backup Internet | Intenet 2Mbps | Internet | Isfahan
Client | Assemble | P4 Dual Core - Ram 4GB | 90 Client | Tehran
| Assemble | P4 Dual Core - Ram 4GB | 50 Client | Isfahan
| Assemble | P4 Dual Core - Ram 4GB | 15 Client | Bandarabbas